**Proyecto Solar Fotovoltaico Distribuido de la Provincia de Jujuy**

**Perico I PV Power Plant**

Document prepared by Sustainable and Carbon Finance LLC

|  |  |
| --- | --- |
| **Name of the project** | Proyecto Solar Fotovoltaico Distribuido de la Provincia de Jujuy - Perico. |
| **Project holder** | INDUSTRIAS JUAN F. SECCO S. A |
| **Project holder’s contact information** | Hernán Juri  Dirección: Juan Pablo II 5665, Rosario, Santa Fe, Argentina  Email: [hjuri@secco.com.ar](mailto:hjuri@secco.com.ar)  [info@secco.com.ar](mailto:info@secco.com.ar)  TE: +543414094000 |
| **Project participants** | Industrias Juan F. Secco SA  Sustainable and Carbon Finance LLC |
| **Version** | 1 |
| **Date** | 27/08/2024 |
| **Project type** | Non-Conventional and Renewable Energy Sources (NCRES) |
| **Grouped project** | No. |
| **Applied Methodology** | Methodology: ACM0002 - Grid-connected electricity generation from renewable sources – Version 22.0 |
| **Project location (City, Region, Country)** | Argentina  Perico, Jujuy province |
| **Starting date** | Indicate the start date of the project's activities  01/09/2024 |
| **Quantification period of GHG emissions reduction** | 01/09/2024 to 31/08/2031 |
| **Estimated total and average annual GHG emission reduction amount** | 94,199 t CO2  13,150 t/y CO2 |
| **Sustainable Development Goals** | SDG 5: Gender equality  SDG 7: Affordable and clean energy  SDG 8: Decent Work and Economic Growth  SDG 10: Reduced Inequalities  SDG 13: Climate Action  SDG 17: Partnerships for the goals |
| **Special category, related to co-benefits** | N/A. |

|  |
| --- |
| General template instructions: |
| * *This template is for the project document under BCR Standard.* |
| * *Complete the information each tittle according to the Instructions relate back to the rules and requirements set out in the BCR Standard (paragraphs in font: Constantia, 11 pt., Italic, gray or “Template” style) using Constantia,12 pt., black or “Normal” style.* |
| * *Do not modify any features of the template, including styles.* |
| * *Submit the document as a non-editable PDF, deleting this table beforehand.* |

*Note: The instructions, in this template, just serve as a guide and, do not automatically represent a complete list of the information that the project holder shall provide under each section of the template*.

**Table of contents**

[1 Project type and eligibility 6](#_30j0zll)

[1.1 Scope in the BCR Standard 6](#_1fob9te)

[*1.2* Project type 6](#_3znysh7)

[1.3 Project scale 7](#_2et92p0)

[2 General description of the project 7](#_tyjcwt)

[2.1 GHG project name 9](#_3dy6vkm)

[2.2 Objectives 9](#_1t3h5sf)

[2.3 Project activities 9](#_4d34og8)

[2.4 Project location 13](#_2s8eyo1)

[2.5 Additional information about the GHG Project 14](#_17dp8vu)

[3 Quantification of GHG emissions reduction 15](#_3rdcrjn)

[3.1 Quantification methodology 15](#_26in1rg)

[3.1.1 Applicability conditions of the methodology 16](#_lnxbz9)

[3.1.2 Methodology deviations (if applicable) 19](#_35nkun2)

[3.2 Project boundaries, sources and GHGs 19](#_1ksv4uv)

[3.2.1 Spatial limits of the project 20](#_44sinio)

[3.2.2 Carbon reservoirs and GHG sources 20](#_2jxsxqh)

[3.2.3 Time limits and analysis periods 21](#_z337ya)

[3.3 Identification and description of the baseline or reference scenario 21](#_3j2qqm3)

[3.4 Additionality 21](#_1y810tw)

[3.5 Uncertainty management 33](#_4i7ojhp)

[3.6 Leakage and non-permanence 33](#_2xcytpi)

[3.7 Mitigation results 34](#_1ci93xb)

[3.7.1 Eligible areas within GHG project boundaries (AFOLU sector projects) 34](#_3whwml4)

[3.7.2 Stratification (Projects in the AFOLU sector) 34](#_2bn6wsx)

[3.7.3 GHG emissions reduction/removal in the baseline scenario 34](#_qsh70q)

[3.7.4 GHG emissions reduction/removal in the project scenario 38](#_3as4poj)

[4 Compliance with Laws, Statutes and Other Regulatory Frameworks 40](#_1pxezwc)

[5 Carbon ownership and rights 41](#_2p2csry)

[5.1 Project holder 41](#_147n2zr)

[5.2 Other project participants 41](#_3o7alnk)

[5.3 Agreements related to carbon rights 42](#_23ckvvd)

[5.4 Land tenure (Projects in the AFOLU sector) 43](#_1hmsyys)

[6 Climate change adaptation 43](#_41mghml)

[7 Risk management 46](#_3fwokq0)

[7.1 Reversal Risk 47](#_1v1yuxt)

[7.1.1 Loss Event Report 48](#_4f1mdlm)

[8 Sustainable development safeguards (SDSs) 48](#_2u6wntf)

[9 Stakeholder engagement and consultation 51](#_3tbugp1)

[9.1 Summary of comments received 52](#_28h4qwu)

[9.2 Consideration of comments received 53](#_nmf14n)

[10 Sustainable Development Goals (SDGs) 54](#_37m2jsg)

[11 REDD+ Safeguards (For REDD+ projects) 56](#_1mrcu09)

[12 Special categories, related to co-benefits (optional) 56](#_46r0co2)

[13 Grouped projects (if applicable) 56](#_2lwamvv)

[14 Other GHG program 56](#_111kx3o)

[15 Double counting avoidance 56](#_3l18frh)

[16 Monitoring plan 57](#_206ipza)

1. **Project type and eligibility**
   1. Scope in the BCR Standard

The project is eligible under the scope of the BCR Standard by meeting one or more of the following conditions (Mark with an X).

|  |  |
| --- | --- |
| The scope of the BCR Standard is limited to: | |
| The following greenhouse gases, included in the Kyoto Protocol: Carbon Dioxide (CO2), Methane (CH4) and Nitrous Oxide (N2O). | **X** |
| GHG projects using a methodology developed or approved by BioCarbon, applicable to GHG removal activities and REDD+ activities (AFOLU Sector). |  |
| Quantifiable GHG emission reductions and/or removals generated by the implementation of GHG removal activities and/or REDD+ activities (AFOLU Sector). |  |
| GHG projects using a methodology developed or approved by BioCarbon, applicable to activities in the energy, transportation and waste sectors. | **X** |
| Quantifiable GHG emission reductions generated by the implementation of activities in the energy, transportation and waste sectors. | **X** |

Within the scope of the BCR Standard, the project suits under activities in the energy sector, specifically as Non-Conventional and Renewable Energy Sources (NCRES). The project will reduce the emission of carbon dioxide (gas included in the Kyoto Protocol), will use the methodology approved by BioCarbon Registry applied to the energy sector and finally, the reduction of quantifiable GHG emissions is entirely related to the implementation of the project in the energy sector as mentioned above.

* 1. Project type

|  |  |
| --- | --- |
| Activities in the AFOLU sector, other than REDD+ |  |
| REDD+ Activities |  |
| Activities in the energy sector | **X** |
| Activities in the transportation sector |  |
| Activities related to Handling and disposing of waste |  |

* 1. Project scale

According to the definitions of the Clean Development Mechanism, this project suits into the Large Scale category, with an installed nominal capacity of 16.5 MW.

1. **General description of the project**

Jujuy province presented in 2021 the "Jujuy Verde: Carbon Neutral 2050 Program”, which is made up of a series of medium and long-term public policies promoted by the Government of Jujuy for the mitigation and adaptation to climate change, as well as empowering the population, public and private institutions, promoting a paradigm of sustainability that guides new ways of living and producing sustainably.

Strategic projects to mitigate and offset greenhouse gas emissions focus on energy, transportation, forests, soil, and waste.

During 2022, the Jujuy Legislature sanctioned the, Provincial Framework Climate Change Law N° 6230 whose purpose is to establish the guidelines for the provincial public policy on climate change "Jujuy Verde: Carbon Neutral 2050".

The last great step that the province has taken was manifested in 2023 with the change of its Constitution, where in the 70th article of the fifth chapter: “New Declarations, Rights, Duties and Constitutional Guarantees”, states:

"Climate change: 1- This constitution establishes that adaptation and mitigation of the negative effects of climate change are duties of the State and individuals, in order to promote the enjoyment of a safe climate and foster a low-carbon economy.”

Therefore, the implementation of this project is aligned with the Legal Framework of the province and facilitates and/or makes possible the fulfillment of the objectives set within the Jujuy Verde Program.

The project “Proyecto Solar Fotovoltaico Distribuido de la Provincia de Jujuy” is made up of 7 photovoltaic solar parks and 48MW total installed generation capacity, distributed in different locations in the province and connected to the 33 kV distribution grid held by EJESA (Empresa Jujeña de Energía S.A.), the province's energy Distribution company

This document focuses on the town of Perico I PV Power Plant (henceforth ¨the project”) located in the Valle Sur region, the only one whose generation suits within the large-scale category.

The project has the following characteristics:

* Energy will be generated and consumed in contiguous geographical spaces, thus avoiding the use of large transportation and transformation structures that increase the cost of the service. The project will be connected to a new pole mounted transformer, owned by EJESA, (the provincial energy distribution company), whose distribution system is connected to the Argentine National Grid SADI, (Sistema Argentino de Interconexión).
* The configuration optimizes the use of the existing transportation, transformation, and distribution infrastructure.
* The possibility of having small generation plants that feed the Argentine system, allows improving the reliability of supply and promoting the growth of nearby communities.
* The project's average power generation for the next 7 years is estimated at 36.879 GWh per year, resulting in emission reductions of 13,150 tCO2e per year and 94,199 tCO2e of emission reductions over the 7-year crediting period.
* ACM0002 (Version 22.0) methodology is applied since the purpose is the installation of a new renewable energy plant connected to the grid (Greenfield), otherwise the electricity would have been generated by the operation of existing power plants based on fossil fuels.

Sustainable Development Goals

a) SDG 5: Gender equality

Opportunities for permanent positions will be equal in terms of gender and financial remuneration.

b) SDG 7: Affordable and clean energy

Up to 36.879 GWh/year incorporated into the country's energy matrix

c) SDG 8: Decent Work and Economic Growth

Seeking zero fatal accidents.

Ensure that all employees hired by Secco and third parties are under Argentine labour law.

Prioritize the hiring of local workers.

d) SDG 10: Reduced Inequalities

Hold an annual exchange meeting with the community and its representatives.

Avoid causes for complaints and, in the event of receiving them, give the treatment established in the procedure.

e) SDG 13: Climate Action

Up to 13,150 tCO2/y will be reduced.

f) SDG 17: Partnerships for the goals

Generation of alliances and exchange with Perico's volunteer firefighters, community referents and neighboring organizations.

* 1. GHG project name

Proyecto Solar Fotovoltaico Distribuido de la Provincia de Jujuy – Perico, hereinafter referred as Perico Project.

* 1. Objectives

To meet the country's growing energy demand by generating 36.879GW/year of electricity from solar energy.

Reduce emissions by around 13,150 tCO2 /y, substituting the use of fossil fuels.

Contribute to the fulfillment of the objectives proposed by "Jujuy Verde: Programa Carbono Neutral 2050".

* 1. Project activities

The project is based on solar energy sources, through photovoltaic conversion technology to produce electricity, which will feed a new pole mounted transformer owned by EJESA whose distribution system is connected to the SADI (Argentine Interconnection System).

SADI is the acronym for “Sistema Argentino De Interconexión” and is the electrical grid that collects and transports all the energy produced and interconnects the different regions of Argentina.



Figure 1, shows part of the SADI and EJESA network and the new Perico I PV power generation plant among others. A detailed description of the single-line diagram can be found in Annex ENGINEERING.

Figure 1Perico I PV and SADI connection

*Figure 2 Main SADI power transformer substations connected with photovoltaic projects*



*Table 1 SADI Transformer power stations*

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **SADI TRANSFORMER POWER STATIONS LINKED TO RENEWABLE**  **PV PROJECTS IN JUJUY PROVINCE** | | | | |
|  | **SAN JUANCITO** | **LAS MADERAS** | **PALPALA** | **SAN PEDRO**  **JUJUY** |
| **SADI ID number** | 483 | 279 | 368 | 497 |
|
| **Voltage** | 500 kV / 132 kV / 33 kV | 132 kV / 33 kV / 13,2 kV | 132 kV / 33 kV / 13,2 kV | 133 kV / 33 kV / 13,2 kV |
| **Region** | NOA | NOA | NOA | NOA |
| **GMS Coordinates** | lat. 24°22'36" S, long. 64°59'51" O | lat. 24°36'36" S,  long. 64°13'13" O | lat. 24°15'33" S,  long. 65°11'14" O | lat. 24°14'16" S,  long. 64°41'46" O |

The facilities to secure the 19.49MWp (16.5MW) according to PV syst - Simulation report Grid-Connected System version 7.4.2 (18th September 2023) consist of:

**System summary**

*Table 2 System summary*

|  |  |  |  |
| --- | --- | --- | --- |
| Solar Modules | Wp | 655 | Vertex TSM-DEG21C20 |
| N° of Modules |  | 29,760 |  |
| Nominal | kWp | 19.493 |  |
| N° of Inverters |  | 62 | Huawei Technologies Model SUN2000-330 KTL |
| Transformers | 0.8 /0,8/33kV | 3 |  |
| Trackers |  | 496 | Vanguard 1P60 Dual row technology |

*Figure 3 Power flow diagram*




Figure 3 depicts the power flow diagram. Two-way digital meters (main and backup) are installed at the exit of the Distribution Center at project site to measure the electricity supply directly and continuously to the new interconnection point with EJESA. The accuracy class of the electricity meters is 0.2S, which will be verified after commissioning.

The expected useful life of the project equipment is 25 years, according to conservative solar industry standards in this context.

* 1. Project location

The Project sector is in a rural area, within the municipal limits of Perico in the province of Jujuy, Argentina.

Country: Argentina

Province: Jujuy

Municipality: Perico

It is located at the intersection of RNN°66 and RPN°22 in front of the Ciudad Perico Industrial Park, it occupies an area of 45 hectares in a site classified by the Environmental Impact Study as having low landscape value, due to the previous transformation by agricultural activities.

*Figure 4 Perico Project Gauss Kruger coordinates*

Tabla

Descripción generada automáticamente

*Figure 5 Perico Project location*



* 1. Additional information about the GHG Project

The photovoltaic plant will operate automatically and independently with minimal intervention. In the event of problems with the external power grid or the inverters, they will automatically disconnect from the grid. In most cases, the inverters will automatically reconnect once the problems have been resolved.

The installations have been designed under the parameters required by international standards for solar photovoltaic installations and national standards for power generation and transmission.

The solar panels will be connected in series forming strings, each string will be mounted on a support structure called a solar tracker in a row. Each solar tracker will be driven by an independent mechanism. This type of modular installation allows each structure to be placed independently to cause the least possible impact. Solar trackers are structures that allow the solar panel to face the direction in which the sun's rays penetrate the earth's atmosphere. In this way, the energy captured by the panels is greater, and energy production is increased for the same number of panels and surface area occupied.

*Figure 6 Perico Project Layout*

*Diagrama

Descripción generada automáticamente*

1. **Quantification of GHG emissions reduction**
   1. Quantification methodology

As stated in the approved methodology ACM0002 "Grid-connected electricity generation from renewable sources" (version 22.0): If the project activity is the installation of a new grid-connected renewable energy plant/unit, the reference scenario is as follows:

“If the project activity is the installation of a Greenfield power plant with or without a BESS as described under paragraph 4(a) or paragraph 5(a), the baseline scenario is electricity delivered to the grid by the project activity that would have otherwise been generated by the operation of grid-connected power plants and by the addition of new generation sources, as reflected in the combined margin (CM) calculations described in TOOL07.”

* + 1. *Applicability conditions of the methodology*

The following table explains and justifies compliance with the applicability conditions of themethodology used.

*Table 3 Compliance of the project activity with respect to the applicability conditions of ACM0002*

| ACM0002 version 21.0 conditions of applicability | Applicability of the project activity |
| --- | --- |
| This methodology is applicable to grid-connected renewable energy generation project activities that:   1. Install a new power plant; 2. Involves a capacity addition to (an) existing plant(s); 3. Involve retrofitting of (one) operating plant/unit; 4. Involves rehabilitation of an existing plant(s)/unit(s); or 5. Involves the replacement of an existing plant(s)/unit(s). | The project activity complies with point a) being a new photovoltaic generation plant.  The methodology is applicable |
| The project activity may include a renewable energy plant/unit of one of the following types: hydroelectric plant/unit with or without reservoir, wind power plant/unit, geothermal plant/unit, solar power plant/unit, wave power plant/unit or tidal power plant/unit. | The project activity is a solar power plant/unit.  The methodology is applicable. |
| In the case of capacity expansions, retrofits, rehabilitations or replacements (except for wind, solar, wave or tidal power capacity expansion projects), the existing plant/unit began commercial operation prior to the start of a minimum five-year historical reference period, used for the calculation of baseline emissions and defined in the baseline emissions section, and no capacity expansion, retrofit or rehabilitation of the plant/unit has taken place between the start of this minimum historical baseline period and the implementation of the project activity. | Not applicable |
| In the case of hydroelectric power plants, one of the following conditions shall apply:   1. The project activity is carried out in single or multiple existing reservoirs, without changing the volume of any of the reservoirs; or 2. The project activity is carried out on existing single or multiple reservoirs, where the volume of the reservoir(s) is increased and the power density, calculated using equation (3), is greater than 4 W/m2; or 3. The project activity results in new single or multiple impoundments and the power density, calculated using equation (3), is greater than 4 W/m2; or 4. The project activity is an integrated hydroelectric project involving multiple reservoirs, where the power density for any one of the reservoirs, calculated using equation (3), is less than or equal to 4 W/m2, all of the following conditions shall apply: 5. The power density calculated with the total installed capacity of the integrated project, according to equation (4), is higher than 4 W/m2; 6. The water flow between the reservoirs is not used by any other hydroelectric unit that is not part of the project activity; 7. The installed capacity of the power plant(s) with power density less than or equal to 4 W/m2 shall be 8. Less than or equal to 15 MW; and 9. Less than 10% of the total installed capacity of the integrated hydroelectric project. | Not applicable |
| In the case of integrated hydroelectric projects, the project proponent shall:  (a) Demonstrate that the water flow from the upstream power plants/units discharges directly to the downstream reservoir and together constitute the generating capacity of the integrated hydroelectric project; or  (b) Provide a water balance analysis covering the water fed to the power units, with all possible combinations of reservoirs and without the construction of reservoirs. The purpose of the water balance is to demonstrate the requirement for a specific combination of reservoirs constructed under the CDM project activity for the optimization of power production. This demonstration should be performed in the specific scenario of water availability in different seasons to optimize the water flow at the inflow of the power units. Therefore, this water balance will take into account the seasonal flows of the river, tributaries (if any) and rainfall for a minimum of five years prior to the implementation of the CDM project activity. | Not applicable |
| The methodology is not applicable to:  (a) Project activities that involve switching from fossil fuels to renewable energy sources at the project activity site, as in this case the baseline may be the continued use of fossil fuels at the site;  (b) Biomass-fired power plants/units. | The project does not correspond to options (a) or (b).  The methodology is applicable |
| In the case of modernizations, rehabilitations, replacements or capacity additions, this methodology is only applicable if the most plausible baseline scenario, as a result of the identification of the baseline scenario, is "continuation of the current situation, i.e., using the power generation equipment that was already in use prior to the implementation of the project activity and performing the usual maintenance". | Not applicable |

* + 1. *Methodology deviations (if applicable)*


Not applicable

* 1. Project boundaries, sources and GHGs

According to the guidance specified in ACM0002 Methodology (version 22.0), "the spatial extent of the project boundary includes the project power plant/unit and all power plants/units physically connected to the electricity system that the CDM project power plant is connected to".

* + 1. *Spatial limits of the project*

The project boundary will include the photovoltaic generation and the Transformer Substation where the metering equipment is located, as shown in the following diagram.



* + 1. *Carbon reservoirs and GHG sources*

Perico’s photovoltaic power generation project comprises a single source or reservoir.

|  |  |  |  |
| --- | --- | --- | --- |
| Source or reservoir | GHG | Included  (Yes/No/Optional) | Justification |
| Source or reservoir 1 | CO2 | Yes | Main source of emission |
| CH4 | No | Minor source of emission |
| N2O | No | Minor source of emission |
| Source or reservoir 2 | CO2 | No | Not applicable |
| CH4 | No | Not applicable |
| N2O | No | Not applicable |
| Source or reservoir n | CO2 | No | Not applicable |
| CH4 | No | Not applicable |
| N2O | No | Not applicable |

* + 1. *Time limits and analysis periods*

In accordance with BCR Standard section 10.5, the project time frame corresponds to 7 years periods for the quantification of GHG emission reductions.

#### Project start date

The construction start date was October 27, 2023 and the start-up date or actual action of the Perico Project September 01, 2024.

#### Quantification period of GHG emission reductions

The Perico Project is framed within the activities in the energy, transport and waste sectors, the quantification periods are those established by the BCR Standard as 7 years and shall be renewed at least twice, for a maximum total length of 21 years.

#### Monitoring periods

The monitoring periods will be annual with a closing date of December 31 of the calendar year.

* 1. Identification and description of the baseline or reference scenario

Based on BCR Guidelines Baseline and Additionality, ACM0002 Methodology (version 22.0) and "TOOL 07 to calculate the emission factor for an electricity system" version 7.0, the baseline scenario is identified as a greenfield power plant: “If the project activity is the installation of a Greenfield power plant with or without a BESS as described under paragraph 4(a) or paragraph 5(a), the baseline scenario is electricity delivered to the grid by the project activity that would have otherwise been generated by the operation of grid-connected power plants and by the addition of new generation sources, as reflected in the combined margin (CM) calculations described in TOOL07.”


* 1. Additionality

Based on the BCR Guidelines for Baseline and Additionality Version 1.3|March 1, 2024, point 6 states “BCR Standard does not include activities that are automatically additional. That mean, in BCR Standard are not considered “positive list”of eligible project types. In addition, point 8 of the mentioned guideline states that project holders in sectors such as energy shall use the Tool provided by the CDM-EB, "am-tool-01-v7.0.0. Tool for the demonstration and assessment of additionality"

Procedure for demonstrating additionality in accordance with TOOL01.Version 07.0.0

The step-by-step approach proposed by TOOL01: Version 07.0.0 has been followed

to establish the additionality of the project. It is detailed below:



**Step 0:** Demonstration of whether the proposed project activity is the first of its kind.

The proposed project activity is a solar photovoltaic project; therefore, it is not the

first of its kind in Argentina.

**Step 1:** Identification of alternatives to the project activity consistent with mandatory laws and regulations.

According to the applied methodology ACM0002 version 22, Para. 27, " If the project activity is the installation of a Greenfield power plant with or without a BESS as described under paragraph 5(a) or paragraph 7(a) or paragraph 7(e) above, the baseline scenario is electricity delivered to the grid by the project activity that would have otherwise been generated by the operation of grid-connected power plants and by the addition of new generation sources, as reflected in the combined margin (CM) calculations described in TOOL07”.

Given that the baseline scenario consists of the installation of a new photovoltaic

plant without a BESS, (Greenfield power plant), that displaces electricity supplied by the grid and is expressly indicated by the methodology applied, no other analyses have been carried out to search for alternatives.

**Step 2**: Investment Analysis

According to paragraph 29 of TOOL01: v.07.0.0 "Tool for the demonstration and assessment of additionality" it is determined that the proposed project activity is not an economically or financially viable option. To carry out the investment analysis, the methodological tool "TOOL 27.v.12.0\_ Investment Analysis" has been taken as a reference, which is valid from -02Nov.22, and whose period includes the date of decision to carry out the project, 28 December 22

**Sub-step 2a:** Determine the appropriate analysis method.

According to paragraph 32 of TOOL01: v.07.0.0 "Tool for the demonstration and

assessment of additionality", the following three options are available for project analysis:

Option I: Simple Cost Analysis

Option II: Investment Comparison Analysis

Option III: Benchmark analysis

The project will generate revenue from the sale of electricity, so Option I is not

applicable.

Option II is also not applicable since there is no comparable investment alternative

available to the project participant.

Therefore, the most appropriate financial analysis method is Option III: benchmark analysis, where the returns on investment in the project activity are compared to a benchmark value available to any investor in the country.

**Sub-step 2b:** Option III. Apply Benchmark Analysis

The project proponents have considered the after-tax IRR for the investment analysis at the time of decision making. As project proponents, they are interested in the returns that the project generates on the investment costs that they finance in the form of 100 percent equity.

For the selection and validation of the appropriate benchmark for the calculated IRR, paragraph 15 of TOOL 27.v12.0 "Investment Analysis", states that "*Local commercial lending rates or WACC are appropriate benchmarks for a project IRR.*

*Required/expected returns on equity are appropriate benchmarks for an equity IRR. Benchmarks supplied by relevant national authorities are also appropriate”*.

Of these options, the proponents consider that the required/expected returns on equity are appropriate benchmarks for an equity IRR.

Comparative Base Value

According to paragraph 18 of TOOL 27.v.12.0, "*If there is only one possible project*

*developer, either internal company benchmarks/expected returns may be applied, or the benchmark based on standard conditions in the market may be used*."

Considering that the project activity has a single proponent that finances 100 percent of the project, (100 percent equity), for transparency and simplicity, the proponents consider the benchmark based on standard market conditions to be a reasonable indicator to evaluate the IRR of equity.

According to point 19 of TOOL 27.v.12.0, "*If the benchmark is based on parameters*

*that are standard in the market, the cost of equity should be determined either by: (a) selecting the values provided in the Appendix; or by (b) calculating the cost of equity using CAPM*". For the sake of transparency and simplicity, the project developers consider it reasonable to use as a benchmark for the IRR of capital the value of the Appendix of Tool 27 v.12.0 "*Default values for the cost of equity* *(expected return on equity)"* corresponding to Argentina Group 1, which is 23.48% in real terms. It is noted that at the date of preparation of this PDD, Tool 27 v.14.0\_Investment Analysis\_EB 122\_31May2024-onwards is in force, which shows the value of 24.01% in real terms for Argentina Group 1 projects. Following a conservative approach, the minimum default value of 23.48% in real terms has been taken.

Finally, it should be noted that the cash flow presented in this process was prepared in real terms since it does not include inflation adjustment in any of its variables. For this reason, we consider that it is not necessary to adjust the benchmark rate for inflation, as proposed in point 16 of Tool 27 v.12.0 "*In situations where an investment analysis is carried out in nominal terms and the available IRR benchmarks are in real terms, project participants shall convert the real term values of benchmarks to nominal values by adding the inflation rate*"

**Sub-step 2c:** Calculation and comparison of financial indicators (only applicable to Options II and III).

Input values used in investment analysis (see Perico I - Cash Flow in Annex I)

|  |  |  |
| --- | --- | --- |
| Project details |  | Source |
| Project location | Jujuy Province |  |
| Total AC capacity (MW) | 16,5 | 20230628 - SECCO - JEMSE - ANDENDA I A CONTRATO ASOCIATIVO- Page 6 |
| Commissioning date | 30/08/24 | Commissioning document |
| Plant life (years) | 30 | Pagina 119. Trina Solar’s Vertex Bifacial Dual Glass Performance Warranty |
| Generation and sale of energy |  |  |
| Production @ P50(%) | See Cash Flow "Produccion" spreadsheet | Supplier information. In accordance with Report EB 48-ANNEX 11\_ Third party Adenda I. Page 29 a 36 |
| Generation rate contract value (USD/MWh) | 79,00 | Ctto. PPA EJESA- JEMSE - Pagina 11- Artículo 6.1 |
| Canon JEMSE | 7,00 % | Oferta de Cesión de Posición Contractual- Página 4- Artículo 2 |
| Operating, maintenance and overhead expenses |  |  |
| O & M Expenses | See Cash Flow "O&M" spreadsheet | Planilla 10\_COp\_JEMSE\_Solar\_48mW\_2024.07 |
| Overhead | 11,32% | Financial statements 31/12/2022 Pag. 17 |
| Financial parameters |  |  |
| Total investment USD | 13.250.837,00 | S/project budget |
| Demobilization expenses | 0,00 | N/A |
| Terminal value | 0,00 | N/A |
| Equity Financing | 100,0% | Industrias Juan F. SECCO |
| Working capital |  |  |
| Days of accounts receivable | 35,00 | According to contract payment conditions Ctto. PPA EJESA- JEMSE - Pagina 14- Artículo 8.2.2 |
| Accounting and tax depreciation |  |  |
| Depreciable value | See Cash Flow "Inversión" spreadsheet | Amortization values provided by technology supplier |
| Accounting / tax useful life |
| Taxes |  |  |
| Gross income (%) | 1,80% | Ley 6372. Resolución general (DPR) 1658/2024 |
| Tax law 25,413 on credits | 0,40% | National Tax LEY 25413 - Decreto 380/2001, Art. 13° (texto s/D. 409/2018, art. 1 y D. 301/2021, arts. 8° y 9°) |
| Tax law 25,413 on debits | 0,40% | National Tax LEY 25413 - Decreto 380/2001, Art. 13° (texto s/D. 409/2018, art. 1 y D. 301/2021, arts. 8° y 9°) |
| Income Tax | 35,00% | National Tax LEY 20628 y modif., Art. 73°, texto s/LEY 27630, Decreto 824/2019 y RG (AFIP) 5168 |

|  |  |  |
| --- | --- | --- |
| Project Developer | IRR without VCC | ROE Benchmark |
| INDUSTRIAS JUAN F SECCO S. A. | 10.35% | 23,48% |

The project activity cannot be considered financially attractive given that the project's IRR is lower than the benchmark ROE.

**Sub-step 2d:** Sensitivity analysis

In addressing Guide 27 and 28 of Tool 27 v.13.0 Investment Analysis, the following factors have been subject to sensitivity analysis:

1. Plant Load Factor

2. Operation and Maintenance Cost

3. Project Cost

4. Rate

The rationale for sensitivity is: "*The ultimate objective of sensitivity analysis is to determine the probability of occurrence of a scenario different from the scenario presented, in order to provide a cross-check of the reasonableness of the assumptions used in the development of the investment analysis."*

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Equity IRR without Verified Carbon Credits | | Benchmark (ROE) | |
| Base case | 10,35% | | 23,48% | |
| Sensitivity Analysis | Equity IRR | | | |
|  |  |  |  |  |
| Variation % | -10% | Normal | 10% | Variation with respect to benchmark |
| Energy Production | 8,94% | 10,35% | **11,71%** | 100,5% |
| O&M | **10,43%** | 10,35% | 10,26% | 125,1% |
| Project Costs | **11,77%** | 10,35% | 9,15% | 99,5% |
| Energy Price | 8,94% | 10,35% | **11,71%** | 100,5% |

The results of the sensitivity analysis show that even with a variation of +10% in project cost, operation and maintenance cost, energy production and energy price, the IRR of the equity is significantly lower than the reference rate. It is also evident from the results given above that the project remains additional even under the most favorable conditions.

|  |  |
| --- | --- |
| **Reference index** | **Probability of default** |
| Power Production  (Plant Load Factor) | The PLF has been considered for financial analysis according to the "Guidelines for Reporting and Validation of Plant Load Factors" set forth in EB48 Annex 11.  It is highly unlikely that a variation in the PLF of more than 10% will occur since the energy production and its reduction over the years was provided in the report of the equipment supplier (third party not involved in the project), |
| O&M | The sensitivity analysis reveals that O&M costs are irrelevant to the outcome of the IRR value. Furthermore, it is known that these costs are subject to upward escalation due to breakage and inflationary pressure. In short, their reduction over time is highly unlikely. |
| Project cost | The estimated project cost for the financial analysis is considered from the GPD available at the time of decision making. However, even if we consider actual project costs that differ very little from the estimates, the benchmark is not exceeded. In any case, the Sensitivity is analyzed for a variation of +/-10%. |
| Value of the fee | For the investment analysis, the tariff considered is 79,00 USD /kWh and is determined by the energy supply contract to JEMSE S.A., which is fixed for the entire 20-year contract period. |

Result of Step 2:

The above shows that the investment is not financially attractive, (the IRR for the project activity is lower than the benchmark ROE), so it can be easily concluded that the project activity is additional and is not a business as usual (BAU) scenario.

**Step 3:** Barrier analysis

Barrier analysis has not been used.

**Step 4:** Common practice analysis

The step-by-step approach for the common practice analysis was carried out according to the methodological tool "*am-tool-24\_Common Practice v.03.1 EB84-Annex 7",*

**Step (1):** calculation of the applicable capacity range or production range as +/-50 % of the total design capacity or production of the proposed project activity.

|  |  |  |
| --- | --- | --- |
| **Range** | **Capacity** | **Unit** |
| +50% in AC | 24,75 | MW |
| Capacity of the proposed project activity | 16,5 | MW |
| -50% in AC | 8,25 | MW |

**(Step 2):** identify similar projects (both CDM and non-CDM) that meet all the following conditions:

a) The projects are located in the applicable geographical area;

b) The projects apply the same measure as the proposed project activity;

c) The projects use the same energy source/fuel and feedstock as the proposed project activity, if a technology switch measure is implemented by the proposed project activity;

d) The plants in which the projects are implemented produce goods or services with comparable quality, properties, and applications areas (e.g. clinker) as the proposed project plant;

e) The capacity or output of the projects is within the applicable capacity or output range calculated in Step 1;

f) The projects started commercial operation before the project design document (CDM-PDD) is published for global stakeholder consultation or before the start date of proposed Project activity, whichever is earlier for the proposed project activity".

The identification of similar projects (CDM and non-CDM) from (Step 2) is carried out as follows:

1. Although the project is in the Province of Jujuy; according to paragraph 9 of the *"am-tool-24\_Common Practice v.03.1 EB84-Annex 7",* the applicable area for the common practice assessment extends to the entire territory of the Argentine Republic.
2. The project activity is a greenfield solar energy project and corresponds to the category, (measure), (b) of paragraph 10 of the "am-tool-24\_Common Practice v.03.1 EB84-Annex *7 "Switch of technology with or without change of energy source including energy efficiency improvement as well as use of renewable energies*". Therefore, all projects that apply the same measure (b) as the proposed project activity are candidates for consideration as similar projects.
3. The energy source used by the project activity is solar. Therefore, only solar energy projects have been considered for the analysis.
4. The project activity produces electricity; therefore, all power plants that produce electricity are candidates for consideration as similar projects.
5. The capacity range of the projects is within the applicable capacity range of 8,25 MW to 24,75 MW.
6. The project activity start date is foreseen for September 1, 2024. As the Kyoto Protocol was ratified by Argentina on July 13, 2001, therefore, projects that started commercial operation between July 13, 2001 and the date of submission of this PDD have been considered.

Number of similar projects identified according to data published by CAMMESA1 in its monthly report[[1]](#footnote-1) and ReNaMi 2 that comply with the requirements mentioned above.

Nsolar = 16

**(Step 3):** within the projects identified in **(Step 2),** identify those that are not registered as CDM projects, projects submitted for registration, or project activities in the process of validation. Note their Nall number. CDM project activities, which have been registered or are in the process of validation, have been excluded in this step. The list of identified power plants is provided to DOE, (Common Practice Summary in Annex I) . After excluding registered and validating projects, the total number of projects is:

Nall = 11

**Step (4):** within similar projects identified in **(Step 3),** identify those that apply technologies that are different from the technology applied in the proposed project activity. Note their Ndiff number. According to *"am-tool-24\_Common Practice* *v.03.1 EB84-Annex 7",* paragraph 12; project activities have been separated based on different technologies; item (d) Investment climate at the date of the investment decision, (iv) Legal regulations. Of the projects identified above, those projects employing "different technologies" have been excluded and the number of such projects has been identified as Ndiff. Therefore, photovoltaic projects between 8.25 MW and 24.75 MW existing in the Republic of Argentina that have signed a Power Sales Contract that do not have the same contractual conditions of sale of energy as “the Project” , are assumed to be governed by different investment climates. Therefore, such projects that come under a different investment climate have been considered as Ndiff.

All of the projects identified in **(step 3),** have Power Purchase Agreements (PPAs) with Compañía Administradora del Mercado Mayorista Eléctrico Sociedad Anónima (CAMMESA), therefore, they are differentiated by the "investment climate" and can be considered as projects that employ "different technologies".

Therefore:

Ndiff = 11

**(Step 5):** calculate the factor F=1-Ndiff/Nall representing the proportion of similar projects, (penetration rate of the measure/technology), using a measure/technology similar to the measure/technology used in the proposed project activity and delivering the same result as the proposed project activity.

Calculate F = 1-Ndif/Nall = 1-(11/11) = 0

Nall - Ndiff = 11 - 11 = 0

Result of **(Step 5):**

As,

i. F = 0 ; it is less than 0.2 y

ii. Nall-Ndiff = 0; it is less than 3, therefore:

As the project activity does not satisfy conditions (i) and (ii), the proposed project activity **is not a "common practice"** within a sector in the applicable geographic area. All the above shows that the proposed project activity is not a common practice and is not financially attractive. Therefore, **the project activity is additional.**

* 1. Uncertainty management

The data used for the quantification of the baseline are based on the methodologies mentioned in point 3.7.3 and on the information provided by official agencies (Secretaría de Energía de la Nación) that have traceable and confidential data provided by each generator in Argentina.

* 1. Leakage and non-permanence

According to ACM0002 Methodology (version 22.0) “No other leakage emissions are considered. The emissions potentially arising due to activities such as power plant construction and upstream emissions from fossil fuel use (e.g. extraction, processing, transport etc.) are neglected.”

* 1. Mitigation results

The mitigation results achieved as a result of the implementation of the Perico project are verifiable under ISO 14064-3:2019 and in accordance with the requirements of the BCR standard.

* + 1. *Eligible areas within GHG project boundaries (AFOLU sector projects)*

Nos applicable

* + 1. *Stratification (Projects in the AFOLU sector)*

Nos applicable

* + 1. *GHG emissions reduction/removal in the baseline scenario*

Based on ACM0002 Methodology (version 22.0) the baseline emissions include only CO2emissions from electricity generation in fossil fuel fired power plants that are displaced due to the project activity. The methodology assumes that all project electricity generation above baseline levels would have been generated by existing grid-connected power plants and the addition of new grid-connected power plants. The baseline emissions are to be calculated as follows:

B𝐸𝑦 =𝐸𝐺𝑃𝐽, ×𝐸𝐹𝑔𝑟𝑖𝑑,,

Where:

B𝐸𝑦 = Baseline emissions in year y (t CO2/yr)

E𝐺𝑃𝐽,𝑦 = Quantity of net electricity generation that is produced and fed into the grid as a result of the implementation of the CDM project activity in year y (MWh/yr)

E𝐹𝑔𝑟𝑖𝑑, = Combined margin CO2 emission factor for grid connected power generation in year y calculated using TOOL07 (t CO2/MWh)

Combined margin is calculated according to TOOL07-v7.0

**Step 1:** Identify the relevant electricity systems.

To determine the electricity emission factors, the project's electricity system is defined by the spatial extent of power plants that are physically connected (including imports) through transmission lines that can be sent without significant transmission constraints. In this case, to the SADI.

**Step 2:** Choose whether to include off-grid power plants in the project electricity system (optional) Project participants may choose between the following two options to calculate the operating margin and build margin emission factor:

Option I: Only grid power plants are included in the calculation.

Option II: Both grid power plants and off-grid power plants are included in the calculation.

Option I is defined.

**Step 3:** Select a method to determine the operating margin (OM)

According to the data provided by CAMMESA[[2]](#footnote-2) and the "TOOL07: Tool to calculate the emission factor for an electricity system" the participation of Low-cost/must-run (LCMR) resources is less than 50%, therefore following the Flow chart below, Simple OM should be considered.

In this opportunity the ex-ante option is selected for Perico I Project, therefore:

For the simple OM, the simple adjusted OM and the average OM, the emissions factor can be calculated using either of the two following data vintages:

1. Ex ante option: if the ex-ante option is chosen, the emission factor is determined once at the validation stage, thus no monitoring and recalculation of the emissions factor during the crediting period is required. For grid power plants, use a 3-year generation-weighted average, based on the most recent data available at the time of submission of the CDM-PDD to the DOE for validation.

For off-grid power plants, use a single calendar year within the five most recent calendar years prior to the time of submission of the CDM-PDD for validation.

**Step 4:** Calculate the operating margin emission factor according to the selected method.

The simple OM may be calculated by one of the following two options:

(a) Option A: Based on the net electricity generation and a CO2 emission factor of each power unit; or

(b) Option B: Based on the total net electricity generation of all power plants serving the system and the fuel types and total fuel consumption of the project electricity system. Option B can only be used if:

(i) The necessary data for Option A is not available; and

(ii) Only nuclear and renewable power generation are considered as low-cost/must-run power sources and the quantity of electricity supplied to the grid by these sources is known; and

(iii) Off-grid power plants are not included in the calculation (i.e. if Option I has been chosen in Step 2).

As the Argentina´s Secretaría de Energía publish and calculate the Emission Factor following TOOL07 v7.0, the option A will be used. Under this option, the simple OM emission factor is calculated based on the net electricity generation and an emission factor for each power unit, as follows:

Texto, Pizarra

Descripción generada automáticamente

The following table shows the Emission Factor Estimates made in the country; data provided by the Secretariat of Energy - Strategic Planning of the Nation[[3]](#footnote-3)

*Table 4 Operating Margin*

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Operating Margin** | |  |  |  |
|  |  | 2021 | 2022 | 2023 |
| **EFGrid Simple OM** | tCO2/MWh | **0,4589** | **0,4499** | **0,4294** |
| **EG m,y sin LCMR** | GWh | 90.893 | 88.061 | 79.261 |
| **Emisiones** | tCO2 | 41.712.283 | 39.616.554 | 34.024.515 |
| **Suma control** | tCO2/MWh | 0,4589 | 0,4499 | 0,4293 |
|  |  |  |  |  |
| **Weighted average EF** | **tCO2/MWh** | **0,4468** |  |  |

**Step 5:** Calculate the build margin (BM) emission factor

In terms of vintage data, project participants can choose between one of the following two options:

(a) Option 1 - for the first crediting period, calculate the build margin emission factor ex ante based on the most recent information available on units already built for sample group m at the time of CDM-PDD submission to the DOE for validation. For the second crediting period, the build margin emission factor should be updated based on the most recent information available on units already built at the time of submission of the request for renewal of the crediting period to the DOE. For the third crediting period, the build margin emission factor calculated for the second crediting period should be used. This option does not require monitoring the emission factor during the crediting period;

(b) Option 2 - For the first crediting period, the build margin emission factor shall be updated annually, ex post, including those units built up to the year of registration of the project activity or, if information up to the year of registration is not yet available, including those units built up to the latest year for which information is available. For the second crediting period, the build margin emissions factor shall be calculated ex ante, as described in Option 1 above. For the third crediting period, the build margin emission factor calculated for the second crediting period should be used.

Option 1 is selected for the Perico Project

*Table 5 Build Margin*

|  |  |  |
| --- | --- | --- |
| **Build Margin** |  |  |
|  |  | 2023 |
| **BM** | tCO2/MWh | **0,0860** |
| **EG m,y** | MWh | 24.574.691 |
| **Emisiones** | tCO2 | 2.113.513 |
| **Suma control** | tCO2/MWh | 0,08600366 |
|  |  |  |
| **BM** | **tCO2/MWh** | 0,0860 |

**Step 6:** Calculate the combined margin (CM) emissions factor

The calculation of the combined margin (CM

) emission factor (EFgrid,CM,y) is based on one of the following methods:

(a) Weighted average CM; or

(b) Simplified CM

Diagrama

Descripción generada automáticamente

Therefore, option (a) Weighted average CM applies to the Perico I Project, where

Texto

Descripción generada automáticamente

According to the tool,

The following default values should be used for WOM and WBM :

Wind and solar power generation project activities: WOM = 0.75 and WBM = 0.25 (owing to their intermittent and non-dispatchable nature) for the first crediting period and for subsequent crediting periods

Therefore, EF grid,CM,y = 0.3566 tCO2/MWh

* + 1. *GHG emissions reduction/removal in the project scenario*

According to the methodology ACM0002 (Version 21.0), the emission reduction is calculated as: ERy = BEy - PEy

Where:

ERy = Emission reductions in year y (tCO2e/year)

BEy = Baseline emissions in year y (tCO2/year)

PEy = Emission of the project in year y (tCO2e/year)

Project emissions

Project emissions will be accounted for using the following equation:

PEy = PEFF,y + PEGP,y + PEHP,y

Where:

PEy = Project emissions in year y (tCO2e/year)

PEFF,y = Project emissions from fossil fuel consumption in year y (tCO2/year)

PEGP,y = Project emissions from the operation of binary, instantaneous steam or dry geothermal power plants in year y (t CO2e/yr)

PEHP,y = Emission from hydroelectric power plant water reservoirs project in year y (tCO2e/year)

Project emissions due to fossil fuel consumption (PEFF,y).

No emissions are expected from the project as the project activity only involves the generation of renewable electricity from the solar power plant without fossil fuel consumption, and according to paragraph 36 of ACM0002 "for all renewable energy power generation activities, emissions due to the use of fossil fuels for the backup generator can be neglected, hence PEFF,y = 0."

Project emissions from the operation of dry geothermal, flash steam or binary geothermal power plants (PE)GP,y

The project is a solar power plant, therefore, this term does not apply and PEGP,y = 0.

Emissions from hydroelectric power plant water reservoirs (PEHP,y)

The project is a solar power plant, therefore, this term does not apply and PEHP,y = 0.

*Table 6 Estimated net GHG reduction*

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Year | GHG emission reductions in the baseline scenario (tCO2e) | GHG emission reductions in the project scenario (tCO2e) | GHG emissions attributable to leakages (tCO2e) | Estimated Net GHG Reduction (tCO2e) |
| 2024 (since 01/09/2024) | 4,485 | 0 | 0 | 4,485 |
| 2025 | 13,322 | 0 | 0 | 13,322 |
| 2026 | 13,268 | 0 | 0 | 13,268 |
| 2027 | 13,207 | 0 | 0 | 13,207 |
| 2028 | 13,139 | 0 | 0 | 13,139 |
| 2029 | 13,065 | 0 | 0 | 13,065 |
| 2030 | 12,979 | 0 | 0 | 12,979 |
| 2031 (hasta 31/10/2031) | 8,587 | 0 | 0 | 8,587 |
| Total | 92,052 |  |  | 92,052 |

Total estimated annual average 13,150 tCO2e/y

1. **Compliance with Laws, Statutes and Other Regulatory Frameworks**

SECCO has traceability of all the information mentioned in this document and has a legal and administrative area that guarantees access to and knowledge of the relevant legislation and regulations and updates of these when they occur.

SECCO is a private legal entity committed to due compliance with the laws and regulations applicable to its business, as well as to the care and satisfaction of its customers.

Considering that each sector and project has its own specificity, characteristics and technicality, SECCO carries out a decentralized regulatory control, i.e., each area involved identifies, monitors, analyzes and communicates internally the regulations relevant to its function. The details of how each area carries out the above and its traceability are detailed in the internal procedure "REGULATIVE MANAGEMENT SYSTEM".

In addition to the above, Secco has a telephone number and an email address in all generation plants and offices to make complaints, which are received by a compliance officer who guarantees their confidentiality and treatment.

1. **Carbon ownership and rights**
   1. Project holder

|  |  |
| --- | --- |
| Individual or organization | INDUSTRIAS JUAN F SECCO S. A. |
| Contact person | Hernan Juri |
| Job position | Administration & Finance Manager |
| Address | Rosario, Argentina.  Juan Pablo II 5665 (Circunvalación Ave. and Uriburu Ave. collector) |
| Phone number | +54 (0341) 409-4000 |
| Email | [hjuri@secco.com.ar](mailto:hjuri@secco.com.ar) |

* 1. Other project participants

|  |  |
| --- | --- |
| Individual or organization | Sustainable Carbon Finance LLC |
| Contact person | Alejandra Camara |
| Job position | Proposer |
| Address | CABA, Argentina  La Pampa 1940 |
| Phone number | Landline: +541147865007  Cellular phone: +5491135202929 |
| Email | [alejacamara@gmail.com](mailto:alejacamara@gmail.com) |

Sustainable Carbon Finance LLC has no agreements on the credits generated during the implementation of the Perico Project.

* 1. Agreements related to carbon rights

Regarding carbon rights, Industrias Juan F. Secco and JEMSE / EJESA signed an agreement on the production and supply of renewable energy that specifically addresses this issue. The following is the key information required and excerpts from the agreement that verify what is stated in this document

1. *parties signing the agreement(s);*

Jujuy Energía y Minería Sociedad Del Estado (JEMSE)

Empresa Jujeña de Energía S.A. (EJESA)

INDUSTRIAS JUAN F SECCO S. A.

1. *purpose of the agreement;*

JEMSE and EJESA develop a Power Purchase Agreement (PPA) in which EJESA agrees to purchase and pay for all registered energy generated within the framework of the Proyecto Solar Fotovoltaico Distribuido de la Provincia de Jujuy. Following this, JEMSE and SECCO develop an Associative Agreement in which JEMSE agrees to assign and transfer to SECCO its contractual position in the PPA Agreement. SECCO assumes ownership of the PPA Agreement and will pay JEMSE a fee described in the third clause of the Associative Agreement under Participation Percentage concept.

1. *date of the agreement;*

28th December 2022

1. *name of the GHG project;*

Proyecto Solar Fotovoltaico Distribuido de la Provincia de Jujuy Perico I PV Power Plant.

1. *period of quantification of GHG emission removals/reductions;*

01/09/2024 to 31/08/2031

1. *responsibilities, obligations, and rights of each of the signatory parties.*

SECCO is the exclusive beneficiary in all matters related to Green Certificates, Renewable Energy Certificates, Carbon Certificates and/or similar. See PPA Agreement-Art. 6.2 and Art. 12 in the Associative Agreement.

* 1. Land tenure (Projects in the AFOLU sector)

Not applicable

1. **Climate change adaptation**

SECCO is a leading company in the country and the region, with more than 80 years of experience. In its beginnings, SECCO consolidated its position in the metal-mechanic activity by repairing the drive engines of the generator sets owned by its customers and its own, being the owner of an industrial plant in constant growth and updating with the latest technology located in the city of Rosario, Province of Santa Fe. Gradually and from the change in the business conception that took place in the country, SECCO was strengthened in the field of the provision of services developing great experience, particularly in the generation of electric power and gas compression.

The great growth of the company took place at the beginning of 2001 when, due to the economic situation of the country, SECCO began to grow exponentially with the generation of electric energy through engines generated with fossil fuels.

As early as 2005, the company's executive board made clear in a board minute the importance of combating climate change. In 2008 it submitted a project to CDM that dealt with the capture of waste gases at the wellhead to generate electricity. This project was not registered for various reasons, but it was a pioneer in the development of the methodology used:

[(https://cdm.unfccc.int/Projects/Validation/DB/HIU1MR6WZ19GKZ73Y9UHXLBSQI0J2O/view.html](https://cdm.unfccc.int/Projects/Validation/DB/HIU1MR6WZ19GKZ73Y9UHXLBSQI0J2O/view.html))

Being a provider of integral solutions in power generation for the most demanding clients in the public and private sector, thanks to its technological advances and experience in the industry and hand in hand with internationally renowned brands, SECCO assembles, installs, commissions, enables, operates and maintains solar, hybrid, mono-fuel and multi-fuel power generation plants and units of high complexity capable of generating energy according to the specific requirements of each client. SECCO reaches every corner of the country, responding to diverse demands and ensuring the achievement of the expected results.

SECCO has more than 10 years of experience in Process Management for the design, construction, qualification, and operation of Power Generation Plants from renewable sources, performing from the design and engineering of the plants to the administrative management, environmental studies, commissioning and start-up of these, and in all cases developing a customized solution for each client and environmental needs.

The company has the know-how, personnel and capacity for the design, development of engineering and suppliers, construction, commissioning, operation and maintenance of photovoltaic and hybrid generation plants that meet the needs of each client.

As a background in photovoltaic, SECCO carried out the conversion project of the Piedra Negra Thermal Power Plant, which is located at 3,600 meters above sea level, incorporating a solar plant with more than 5 thousand panels and banks with lithium ion batteries for energy accumulation, in order to guarantee the reliability of the System, transforming it into the first Hybrid Power Plant (photovoltaic/storage/thermal) at altitude for an isolated system in Latin America, ensuring one of the highest percentages of availability in the market.

SECCO has more than 1,500 MW installed in more than 130 Generation Plants that generate in isolated systems or connected to the National Interconnected System (SADI) providing solutions tailored to the needs of each client with state-of-the-art and highly complex equipment. Has installed more than 50 MW in MSW Biogas Projects, more than 30 MW in substrate Biogas Projects and a hybrid plant composed of solar and thermal energy with energy accumulation to guarantee the reliability of the system. Last year, Industrias SECCO registered before the BCR Standard the "CASA La Calera, San Luis Solar Project" ID BCR-AR-131-1-001, a 20 MW photovoltaic project installed in the province of San Luis. To date, SECCO is working on the completion and installation of solar energy projects for 48 MW distributed in 7 solar plants in the province of Jujuy; totaling 178MW installed in renewable energy.

| CT NAME | OBJECT | SOURCE | CLIENT | MW INSTALLED | YEAR PEM |
| --- | --- | --- | --- | --- | --- |
| CT LA CALERA | OWN CT WITH O&M | SOLAR | CEMENTOS AVELLANEDA S.A. | 20 | 2023 |
| CT JEMSE | OWN CT WITH O&M | SOLAR | EJESA | 48 | 2023 |
| CT SAN MARTIN NORTH III DI | OWN CT WITH O&M | BIOGAS MSW | CAMMESA | 4,2 | 2023 |
| CT SAN MARTIN NORTH III AGC | OWN CT WITH O&M | BIOGAS MSW | CAMMESA | 7,5 | 2023 |
| CT VARIOUS | RENTAL WITH O&M | BIOGAS SUST. with Heat Recovery | VARIOUS | 23 | 2021/2022 |
| CT BLACK STONE | OWN CT WITH O&M | HYBRID (SOLAR + STORAGE + THERMAL) | EJESA | 12,4 | 2021 |
| CT SAN MARTIN NORTE III D | OWN CT WITH O&M | BIOGAS MSW | CAMMESA | 7,5 | 2021 |
| CT SAN MIGUIEL | RENTAL WITH O&M | BIOGAS MSW | TECSAN | 5,2 | 2021 |
| CT ENSENADA | OWN CT WITH O&M | BIOGAS MSW | CAMMESA | 7,5 | 2019 |
| CT BIOGAS AVELLANEDA | OWN CT WITH O&M | BIOGAS SUST. with Heat Recovery | CAMMESA | 7,5 | 2019 |
| CT KDM | O&M | BIOGAS MSW | KDM S.A. | 24 | 2012 |
| CT EDAM | O&M | BIOGAS SUBSTRATES | EDAM S.A. | 12,7 | 2012 |

In line with the above, in 2019 the Code of Ethics and Conduct was implemented, which expressly regulates SECCO's commitment to the implementation of best environmental practices in the different sectors in which it operates, as well as the continuous improvement of environmental protection, safety and hygiene systems to obtain results of lower environmental impact as an integral part of the company's operations strategy. The Code of Ethics is part of the Company's Integrity Program, which is in force and enforceable for all employees and internal officers, suppliers, distributors, service providers, consultants, among others. It is publicly available and can be accessed from the web page[[4]](#footnote-4) .

The above actions of the company contribute to achieving the objectives set out in the Second Adaptation Communication of the Argentine Republic[[5]](#footnote-5) and are in line with the same, where "35 priority adaptation measures are identified in seven sectors of the country to address the different territorial, socioeconomic and environmental.

1. **Risk management**

The Environmental Impact Assessment (EIA) was carried out by independent experts and made it possible to analyze the type, magnitude, and complexity of the project and its relationship with the characteristics of the social, physical, and biological environment that could potentially be affected. The methodological analysis used complies with national, provincial, and municipal regulations.

The EIA was presented at the beginning of 2019 and involved the Identification and Characterization of Environmental Impacts, Risk Analysis and Environmental Sensitivity for the preparation, construction, and operation stages.

In May of the same year, the Secretariat of Environmental Quality approved the Feasibility of the project under Resolution No. 193/2019-SCA. In January 2023, a rectification was presented regarding generation and area (Exp. 1101-103-J/2019) and it was approved under Resolution N° 97/2023-SCA. Finally, in September 2023, the current scope of the project was approved by Resolution N°419/2023-SCA.

Chapter 6 of the EIA studies the Identification and Characterization of Environmental Impacts in all stages of the project.

The technique called Delphi Method was applied, which allows obtaining a table of Importance of the different environmental components considered for the description of the existing environmental situation, according to the importance or merit that they present to be "protected or conserved" from the impacts of the project or activity.

In conclusion, for the Perico Project, the perceptual component and Air are the most negatively impacted, while Employment continues to be recognized as the greatest beneficiary.

Chapter 7 establishes the Measures Mitigation Plan that arise in response to the negative impacts that were detected.

The site location; with immediate access through RN°66 and RPN°22; in the vicinity of Perico city, next to the industrial park, close to the city of San Salvador de Jujuy and adjacent to service networks, markets and airport caused the result of impact on native communities to have been defined as impact having the lowest category.

Internally SECCO has implemented an Integrity Program, which can be viewed on the website <https://www.secco.com.ar/> composed of:

* Code of Ethics and Conduct
* Management Support
* Prevention of illegal activities with the public sector
* Training policy
* Whistleblower protection
* Whistleblower channels and ethics hotline
* Due diligence to business partners
* Customer due diligence
* Compliance Officer
* Complimentary gift policy
  1. Reversal Risk

Risk and permanence tool version 1.1 was used for identifying potential financial risks, since environmental and social risks were considered in the EIA.

To consider the risk of increased investment and/or maintenance budget, sensitivity analyses were made to the economic model.

Regarding minimizing reversal risks, it should be considered the term of the current contract is 20 years from the Commercial Qualification of the Photovoltaic Plant (PPA-Art 3.3). And the contract also provides for early exit clauses that consider the payment of compensation and the mechanism for calculating the Asset Price in the event of reversion or upon termination of the contract (PPA-Cláusula Décimo Primera)

* + 1. *Loss Event Report*

Not applicable.

1. **Sustainable development safeguards (SDSs)**

The project is in accordance with Sustainable Development Safeguards SDSs Tool version 1.1.

It is important to highlight the land is property of the province of Jujuy and is currently under dryland agriculture, with monoculture and for rent. In the middle term a progressive loss of profitability and production can be expected due to a lack of fertilization and erosion (wind, water), etc.

The location has immediate access through RN°66 and RPN°22; in the vicinity of Perico city, next to the industrial park and close to the San Salvador de Jujuy city and adjacent to service networks, hub markets, airport, etc.; These characteristics provides a favorable opportunity cost for other industrial, or service uses. It is foreseeable that in the next years will be pressure for a change in land use, associated with an urbanization process. Which demands spaces for logistics, production, marketing and energy generation.

As evidence Perico Project is attached the EIA, it contains details of what was analyzed in Chapter 5. Environmental Risk and Sensitivity Analysis and in Chapter 6. Identification and Characterization of Environmental Impacts.

The Delphi Method and Conesa Fernández Vítora methodology was applied.

*Table 7 Perico Project Environmental characterization impacts*

Calendario

Descripción generada automáticamente

The following image shows the impacts classification according to the EIA, in conclusion the project does not cause significant variations, except that the Perceptual Component and Air (the most negatively impacted), while Employment is the greatest beneficiary.

*Figure 7 Perico project environment impacts*

Gráfico

Descripción generada automáticamente

An Environmental Management Plan (EMP) was prepared whose objective is to ensure the correct environmental management of the different actions of the work during the construction, operation and closure or dismantling phases. In this way, the impact on the environmental quality of the receiving environment of the undertaking, in its natural and socioeconomic aspects, will be avoided.

The components: air, biotic, perceptual, soil, water resources, impacts on the Socio-Economic Environment and Territorial Development, road and service infrastructure has a detail EMP (Chapter 8 EIA).

The EIA involved both in-house and survey tasks in the area. Regarding socio-economic aspects, the impact of the project was analyzed on: biodiversity and ecosystems, cultural heritage, involuntary resettlement, native communities and erosion risk. The area of Direct Influence was even taken into account (covering the area where each solar plant will be installed and the immediately adjacent areas) and the Area of Indirect Influence (covering the El Pongo Farm, Perico Industrial Park, the urban center of Perico and Santo Domingo)

For the analysis, the methodology proposed by Hernández (2013) was adopted and as can be seen, the Perico Project resulted in a low rating, without the need to implement mitigation measures or management plans.

*Table 8 Socio-economic aspects*

Interfaz de usuario gráfica, Aplicación

Descripción generada automáticamente con confianza mediaInterfaz de usuario gráfica, Aplicación

Descripción generada automáticamente con confianza media

1. **Stakeholder engagement and consultation**

The stakeholders meeting was conducting on November 3 2023 where the "Distributed Solar Photovoltaic Project of the Province of Jujuy" and specific details of the Perico project were described. Projects located in Perico, Cannava and Los Lapachos were grouped together in the same stakeholder meeting due to the proximity between the sites and that they are located in the same region called Valle Sur.

The consultation process is described below:


1. the scope of stakeholder consultations: local authorities, media, schools educational authorities in the area and the community.
2. the number of stakeholders consulted: 71 people attended the meeting
3. the means used to invite interested parties to participate in the consultations; The invitation was sent to the Mayor (Intendente) of the municipality of El Perico and was published in the local newspaper "El Tribuno" and "El Pregón" on 10/27/23, 10/28/23 and 10/30/23.
4. It was also published on social networks such as Facebook, JEMSE's website and Linkedin, Facebook of the Government of Jujuy and the graphic invitation was also placed in the House of Culture, Arturo Zabala Hospital and the Revenue Department.
5. The information that was made available to stakeholders during the consultation process: The project presentation (characteristics, execution deadlines, generation), its coherence with the provincial objectives, the EIA and its results. It was also communicated that the project would apply to obtain carbon credits, and a general explanation about this.
6. the meetings, workshops and other processes developed in the framework of the stakeholder consultation: The contact email contacto@secco.com.ar was made available during the stakeholders meeting difussion where they could send questions or doubts about the project.

For evidence regarding to invitations, meeting, assistance and opinion survey see the folder STAKEHOLDERS MEETING.

* 1. Summary of comments received

The comments received in the opinion survey are transcribed below.

*Table 9 Summary of comments received*



* 1. Consideration of comments received

Unfortunately, no participant left their contact information or sent the same comment to the postal address, so it was impossible to respond formally to the suggestions or questions. In any case, after the presentation, the concerns were discussed between the interested party and the representatives of JEMSE and SECCO.

1. **Sustainable Development Goals (SDGs)**

The Tool for Determining the Contributions of GHG Projects to Achieving the Sustainable Development Goals (SDGs) proposed by BioCarbon was used as a support and basis for the identification of the SDGs on which the project has an impact and its rationale. In turn, SDG 7 Affordable and Clean Energy and SDG 13 Climate Action were completed.

All the Sustainable Development Goals that are linked to the Perico Project, their description and objectives are specified below. It should be clarified that these were not incorporated in the Tool proposed by BioCarbon due to their specificity and their specific framework for action in the surrounding community.

* 1. SDG 5: Gender equality.

Searches for permanent personnel will not have any clarification on gender preference and the estimated salary for such functions is defined independently of who occupies the position.

As part of the Secco policy described above, during the construction and assembly phase an attempt was made to employ women. The search for personnel was open to both genders; no CVs were received from women who met the technical requirements. If a new search is to be carried out, it will be under the same modality.

Secco believes that the Argentina northern region preserves the idiosyncrasy and customs of the indigenous peoples more deeply than in the rest of the country and this is the reason why it was difficult to incorporate women into this kind of jobs.

Objective: to increase the participation of women involved in the Perico Project.

* 1. SDG 7: Affordable and clean energy

The project generates up to 36.879 GWh/year that are incorporated into the country's energy matrix.

Objective: to maintain photovoltaic generation following good operation and maintenance practices.

* 1. SDG 8: Decent Work and Economic Growth

The project generated more than 80 temporary jobs during construction and assembly, and during operation at least 2 people from Jujuy are employed on a stable basis for operation and maintenance.

Due to the socio-economic characteristics of the Argentina northern region, it is important that Secco monitors and ensures that all employees hired by Secco and third parties are under Argentine labour law. For the same reasons, it is essential to apply Secco's procedures on workplace safety, seeking a rate of zero fatal accidents. Thus, fulfilling goal 8.8.

Objectives:

Seeking zero fatal accidents.

Ensure that all employees hired by Secco and third parties are under Argentine labour law.

Prioritize the hiring of local workers.

* 1. SDG 10 Reduced inequalities

In order to guarantee equal opportunities, there will be at least one meeting per year with the community and its representatives to record the needs raised, which will be considered internally and incorporated into SECCO's budget to be executed in the following year.

Ensure compliance with the REGULATIVE MANAGEMENT SYSTEM and that the reporting channels opere properly (fulfilling goal 10.3).

Objectives:

Hold an annual exchange meeting with the community and its representatives.

Avoid causes for complaints and, in the event of receiving them, give the treatment established in the procedure.

* 1. SDG 13: Climate Action

Up to 13,150 tCO2/a will be reduced.

Objective: to maintain photovoltaic generation following good operation and maintenance practices.

* 1. SDG 17 Partnership for the goals

SECCO understands that the development and strengthening of alliances is fundamental to achieve the necessary engagement with the community and surrounding organizations.

Objectives:

Organize at least one annual on-site training with Perico's volunteer firefighters and generate an exchange of knowledge. Ensure that they are familiar with the facilities in order to promote efficient emergency response.

Elaborate a list of community referents and neighboring organizations to evaluate the synergies with the Yungas Project and the agreements that could be generated.

1. **REDD+ Safeguards (For REDD+ projects)**

Not applicable

1. **Special categories, related to co-benefits (optional)**

Not applicable

1. **Grouped projects (if applicable)**

Not applicable

1. **Other GHG program**

Not applicable

1. **Double counting avoidance**

In compliance with the Biocarbon Registry Standard version 1.3, the Avoiding Double Counting (ADC) Tool version 2.0 is applied to ensure that the project does not and will not commit any type of double counting with its carbon credits.

According to section 7 of the ADC Tool, double counting is defined as counting a greenhouse gas mitigation result in tonnes of CO2 in the following scenarios:

(a) a ton of CO2e is counted more than once to demonstrate compliance with the same GHG mitigation goal;

(b) one ton of CO2e is counted to demonstrate compliance with more than one GHG mitigation goal;

(c) a ton of CO2e is used more than once to obtain remuneration, benefits, or incentives;

(d) one ton of CO2e is verified, certified, or accredited assigning more than one serial to a single mitigation result.

As of the date of preparation of this document, this project has not issued any carbon credits, therefore it does not meet any of the conditions mentioned in the ADC Tool for a double counting situation to be considered to have been generated. However, SECCO undertakes not to commit any of the parameters defined above as double counting

In turn, section 8.4 of the ADC Tool defines that if the project owners wish to sell their carbon credits to the CORSIA program, a Host Country Attestaion (HCT) must be presented certifying that the host country is aware of what has happened with this project and that it will not consider the CO2 reductions of the project in the preparation of the Nationally Determined Contributions (NDCs) reports within the framework of the Paris Agreement. The sole owners of the Carbon credits to be issued by this project will be the exclusive property of SECCO.

1. **Monitoring plan**

Project´s monitoring plan is in accordance with the BCR Tool. Monitoring, Reporting and Verification (MRV) version 1.0 and with PROCEDIMIENTO DE MONITOREO Y CONTROL DE LOS PS FV JUJUY development for Secco for any photovoltaic project in Jujuy province (attach as evidence).

The Monitoring Plan developed was based on:

* IEC 61724 PV Plant Performance Standard.
* Best Practice Guidelines / Version 5.0 – Solar Power Europe O&M Report.
* PVsyst – Simulation report.

Secco has all its generation plants linked to the SCADA system and operated from the Operations Center (COG) located in Rosario that operates 24 hours a day, seven days a week.

The Plan contains the following key scope:

Roles and responsibilities of the COG operators

Control and monitoring of all PV PS parameters.

Reporting of alarms, events and faults.

Presentation of reports on generation, performance and events that occur.

Due to the project participant's choice of an ex-ante emission factor, the most important variable to monitor is the project's electricity generation. It will be measured according to the national rules and regulations for wholesale market participants. SMECs will be installed at the distribution center in medium voltage in each site; protection relays in medium voltage cells (at SECCO's distribution center) and multi-meters (at the solar farm's transformation centers) in the medium voltage cells.

All meters will have records and generation data ready to be downloaded remotely, the information will be acquired at programmable intervals ranging from a minimum to a maximum of one hour.

The information is supported by the operational team (COG). Data is included in an Excel spreadsheet for emission reduction calculations on a monthly basis. All data collected as part of the monitoring process is archived electronically and retained for at least two years after the end of the last crediting period. After that period the information will be stored in backup copies that can be reconstructed if necessary.

|  |  |
| --- | --- |
| Parameter | SDG 5 Gender equality |
| Unit | % of women involved in the Perico Project |
| Description | Searches for stable personnel without any clarification of gender preference and the estimated salary for such functions is defined independently of who occupies the position. |
| Source | Human Resources of Juan F. Secco Industries |
| Purpose of monitoring | Achieving SDG 5 |
| Monitoring frequency | Annual |

|  |  |
| --- | --- |
| Parameter | SDG 7: Affordable and clean energy |
| Unit | MWh/year |
| Description | Amount of net electricity generation supplied by the project plant/unit to the grid in the year. |
| Source | SMEC Class 0.2 meters |
| Purpose of monitoring | Calculation of reference emissions.  Billing per MWh generated. |
| Monitoring frequency | Continuous measurement |

|  |  |
| --- | --- |
| Parameter | SDG 8: Decent Work and Economic Growth |
| Unit | Occupational injuries/year  Local People hired/year |
| Description | Seeking zero fatal accidents.  Ensure that all employees hired by Secco and third parties are under Argentine labour law.  Prioritize the hiring of local workers. |
| Source | Human Resources of Juan F. Secco Industries |
| Purpose of monitoring | Fulfillment of SDG 8. |
| Monitoring frequency | Annual |

|  |  |
| --- | --- |
| Parameter | SDG 10 Reduced inequalities |
| Unit | Meeting/year  Complaints/year |
| Description | Hold an annual exchange meeting with the community and its representatives.  Avoid causes for complaints and, in the event of receiving them, give the treatment established in the procedure. |
| Source | Human Resources of Industrias Juan F. Secco |
| Purpose of monitoring | Fulfillment of SDG 10. |
| Monitoring frequency | Annual |

|  |  |
| --- | --- |
| Parameter | SDG 13: Climate Action |
| Unit | tCO2/year |
| Description | Maintain photovoltaic generation following good operation and maintenance practices. |
| Source | Chief Operating Officer, Juan F. Secco Industries |
| Purpose of monitoring | Fulfillment of SDG 13. |
| Monitoring frequency | Annual |

|  |  |
| --- | --- |
| Parameter | SDG 17 Partnership for the goals |
| Unit | training/year  meetings/year |
| Description | Organize at least one annual on-site training with Perico's volunteer firefighters and generate an exchange of knowledge. Ensure that they are familiar with the facilities in order to promote efficient emergency response.  Elaborate a list of community referents and neighboring organizations in order to evaluate the synergies with the Perico Project and the agreements that could be generated. |
| Source | Human Resources of Industrias Juan F. Secco |
| Purpose of monitoring | Fulfillment of SDG 17. |
| Monitoring frequency | Annual |

|  |  |
| --- | --- |
| Parameter | EGfacility,y |
| Unit | MWh/year |
| Description | Amount of net electricity generation supplied by the project plant/unit to the grid in the year. |
| Source | SMEC Class 0.2 meters |
| Purpose of monitoring | Calculation of reference emissions.  Billing per MWh generated. |
| Monitoring frequency | Continuous measurement  In cases where the electricity meters are regulated (as in the case of the Perico Project), the electricity meter will be subject to regular maintenance and testing as stipulated by the meter supplier and/or according to the requirements established by the grid regulator or national requirements. The calibration of the meters, including the frequency of calibration, shall be in accordance with national standards or requirements set by the meter supplier or requirements set by the grid operators. The accuracy class of the meters must be in accordance with the meter supplier's stipulation and/or according to the requirements established by the network operators or national requirements. |

© 2024 BioCarboN

n Cert→. All rights reserved. This format can only be used for projects for certification and registration with BioCarbon. Reproduction in whole or in part is prohibited.

NOTE: This Project Document (PD) shall be completed following the instructions included. However, it is important to highlight that these instructions are complementary to the BCR Standard, and the Methodology applied by the project holder, in which more information on each section can be found.

1. (1)<https://cammesaweb.cammesa.com/2020/09/15/informe-mensual-generacion-renovable-variable/>

   (2) https://www.argentina.gob.ar/sites/default/files/2024\_renami\_web.xlsx [↑](#footnote-ref-1)
2. https://cammesaweb.cammesa.com/informe-anual/ [↑](#footnote-ref-2)
3. https://datos.gob.ar/dataset/energia-calculo-factor-emision-co2-red-argentina-energia-electrica/archivo/energia\_b77a21bf-a363-46e6-be5d-d7e8021940a5 [↑](#footnote-ref-3)
4. [https://www.secco.com.ar/?gclid=CjwKCAiA5sieBhBnEiwAR9oh2gBW2GokgnZJGAxE14BhMTayzV8mfaJW8A9JxDNNHu\_hkh01vvckaRoCs0gQAvD\_BwE#!/company#values](https://www.secco.com.ar/?gclid=CjwKCAiA5sieBhBnEiwAR9oh2gBW2GokgnZJGAxE14BhMTayzV8mfaJW8A9JxDNNHu_hkh01vvckaRoCs0gQAvD_BwE#!/empresa) [↑](#footnote-ref-4)
5. https://www.argentina.gob.ar/ambiente/cambio-climatico/contribucion-nacional [↑](#footnote-ref-5)